**CLARIFICATIONS ARISING FROM PRE-TENDER SITE VISIT FOR PROPOSED PARTITIONING OF OFFICES FOR STATE DEPARTMENT FOR BLUE ECONOMY AND FISHERIES ON 14TH FLOOR NHIF BUILDING – NAIROBI.**

1. **ELEMENT 2 (ITEM A)**

**Clarification on the position of MDF board in the wall partition?**

Procuring entity reply: Gysum and styropohol will be in between MDF boards.

1. **ELEMENT 7 (ITEM B)**

**Clarification on the size of wall mounted bookshelf?**

Procuring entity reply: 1200x600mm partitioned into 3 (400x600mm).

1. **ELEMENT 3 (ITEM D)**

**The number of mahogany semi solid core flush door is 17No. instead of 12No.**